## Data
|  | 6 Li [ No Gas ] |  | 7 Li [ No Gas ] |  | 9 Be [ No Gas ] |  | 11 B [ No Gas ] |  | 45 Sc [ He ] |  | 47 Ti [ He ] |  | 51 V [ He ] |  | 52 Cr [ He ] |  | 53 Cr [ He ] |  | 55 Mn [ He ] |  | 59 Co [ He ] |  | 60 Ni [ He ] |  | 63 Cu [ He ] |  | 66 Zn [ He ] |  | 71 Ga [ He ] |  | 72 Ge [ He ] |  | 75 As [ He ] |  | 78 Se [ He ] |  | 85 Rb [ He ] |  | 86 Sr [ He ] |  | 88 Sr [ He ] |  | 89 Y [ He ] |  | 90 Zr [ He ] |  | 93 Nb [ He ] |  | 95 Mo [ He ] |  | 101 Ru [ He ] |  | 103 Rh [ He ] |  | 105 Pd [ He ] |  | 107 Ag [ He ] |  | 111 Cd [ He ] |  | 115 In [ He ] |  | 118 Sn [ He ] |  | 121 Sb [ He ] |  | 125 Te [ He ] |  | 133 Cs [ He ] |  | 135 Ba [ He ] |  | 137 Ba [ He ] |  | 139 La [ He ] |  | 140 Ce [ He ] |  | 141 Pr [ He ] |  | 146 Nd [ He ] |  | 147 Sm [ He ] |  | 151 Eu [ He ] |  | 153 Eu [ He ] |  | 157 Gd [ He ] |  | 159 Tb [ He ] |  | 163 Dy [ He ] |  | 165 Ho [ He ] |  | 166 Er [ He ] |  | 169 Tm [ He ] |  | 172 Yb [ He ] |  | 175 Lu [ He ] |  | 178 Hf [ He ] |  | 181 Ta [ He ] |  | 182 W [ He ] |  | 185 Re [ He ] |  | 189 Os [ He ] |  | 193 Ir [ He ] |  | 195 Pt [ He ] |  | 197 Au [ He ] |  | 201 Hg [ He ] |  | 205 Tl [ He ] |  | 206 Pb [ He ] |  | 207 Pb [ He ] |  | 208 Pb [ He ] |  | 209 Bi [ He ] |  | 232 Th [ He ] |  | 238 U [ He ]
采集日期时间 | 注释 | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ]
2016-01-08 15:25 | QC | 22800.6567 | 14.01 | 469819.9533 | 13.1635 | 9318.75 | 0.85361 | 39380.82 | 4.0536 | 30352.5533 | 8.3408 | 1033484.1067 | 3242.6248 | 1045997.1733 | 82.8838 | 238106.92 | 13.7463 | 29451.26 | 13.6456 | 2866070.6667 | 367.726 | 277778.3 | 8.1441 | 78832.5633 | 8.1387 | 428140.8333 | 15.5173 | 145016.7433 | 48.0507 | 60230.1533 | 13.0117 | 19103.77 | 5.3463 | 51529.1333 | 24.847 | 503.7733 | 2.2979 | 485147.1267 | 60.4478 | 156661.74 | 129.4715 | 1540356.37 | 149.9241 | 315233.6867 | 12.6847 | 3719029.57 | 158.5733 | 436484.4767 | 7.3893 | 437347.1 | 33.2667 | 196.3267 | 0.0097002 | 233.3633 | 0.0018969 | 1044.6133 | 0.042782 | 5334.9033 | 0.17058 | 592.6767 | 0.09598 | 335834.4167 | 2214.954 | 23462.7533 | 1.9219 | 97667.4133 | 6.8823 | 7.41 | 0.026131 | 44185.1367 | 1.5463 | 1468992.5233 | 479.8142 | 2734936.23 | 488.3847 | 3220171.3067 | 37.4471 | 8689134.3367 | 84.4508 | 1005792.4 | 10.2885 | 728952.9667 | 40.8608 | 90913.5333 | 5.904 | 44702.85 | 0.79582 | 52787.1867 | 0.82029 | 112006.5733 | 4.0644 | 73044.57 | 0.48861 | 90706.38 | 2.5715 | 70949.54 | 0.47857 | 68249.98 | 1.2557 | 29795.1233 | 0.17964 | 43952.74 | 1.1682 | 15525.5367 | 0.16637 | 169618.9033 | 4.236 | 124053.91 | 0.66401 | 23192.9833 | 0.41813 | 222.25 | 0.0034707 | 7.4067 | 1.5025 | 1270.6033 | 0.011475 | 614.9133 | 0.015576 | 44162.56 | 1.1447 |  |  | 39811.5333 | 0.35146 | 344123.65 | 9.6747 | 293149.08 | 9.7767 | 867110.4133 | 11.0581 | 4664.43 | 257.3774 | 2791280.6767 | 19.8634 | 195452.6267 | 1.3608
2016-01-08 15:28 | Sample1 | 6531.72 | 8.2593 | 133205.0867 | 7.7125 | 9730.0933 | 1.8454 | 25668.7833 | 4.8305 | 53207.9233 | 30.2781 | 1912939.4967 | 12427.2488 | 2583598.9 | 423.8829 | 115125.0067 | 13.699 | 14490.3133 | 13.8356 | 5487506.4867 | 1457.8511 | 559609.0833 | 33.973 | 49477.0267 | 10.5555 | 196002.5367 | 14.688 | 184695.7367 | 127.0201 | 47530.86 | 21.26 | 6958.0333 | 4.0304 | 33074.98 | 33.0175 | 325.97 | 3.0145 | 159195.5 | 41.0547 | 162826.4567 | 278.6214 | 1621733.2833 | 326.8171 | 379511.4633 | 31.6188 | 1998842.0167 | 176.4603 | 300504.9133 | 10.5331 | 1645368.79 | 259.1563 | 85.1933 | 0.0082696 | 92.6033 | 0.0013979 | 655.66 | 0.053482 | 1463.2033 | 0.095075 | 840.8833 | 0.28195 | 317312.99 | 4333.111 | 11876.7433 | 2.003 | 186309.97 | 27.1863 | 0 | 0 | 14301.7067 | 1.0354 | 925220.3367 | 625.6895 | 1769698.84 | 654.305 | 935672.1 | 22.5279 | 2435055.4967 | 49.0001 | 286400.4933 | 6.0657 | 233497.2233 | 27.0988 | 46141.2467 | 6.2034 | 48102.9633 | 1.7731 | 56204.5733 | 1.8084 | 85244.83 | 6.4045 | 70609.54 | 0.97793 | 102452.7867 | 6.0138 | 87560.8767 | 1.2229 | 86647.3167 | 3.3008 | 39361.0067 | 0.49135 | 57489.2033 | 3.1636 | 20807.19 | 0.46168 | 92264.9933 | 4.7706 | 72220.4667 | 0.80037 | 14405.52 | 0.53709 | 440.8033 | 0.014253 | 7.4067 | 3.111 | 511.2 | 0.0087728 | 329.6767 | 0.017015 | 6828.45 | 0.35735 |  |  | 13382.48 | 0.24412 | 157715.2133 | 9.173 | 132180.0867 | 9.122 | 329075.8 | 8.6821 | 2682.09 | 306.0616 | 365908.4267 | 5.3909 | 107668.3033 | 1.552
2016-01-08 15:32 | Sample2 | 3337.7933 | 4.1721 | 66610.3367 | 3.8335 | 4623.48 | 0.87399 | 19299.6167 | 3.1652 | 52345.7633 | 29.6888 | 2358762.4633 | 15272.8368 | 2000659.4933 | 327.1545 | 2375768.83 | 284.1205 | 279077.1567 | 267.9245 | 4758538.4733 | 1259.9915 | 666186.1833 | 40.3098 | 500593.4533 | 106.9487 | 1537888.3733 | 115.1209 | 142419.8433 | 97.3637 | 45899.4267 | 20.4623 | 6739.42 | 3.8908 | 32517.6 | 32.3534 | 318.56 | 2.9321 | 31827.45 | 8.164 | 188599.74 | 321.6654 | 1900370.2267 | 381.7031 | 275597.2767 | 22.8853 | 1856717.1533 | 163.3705 | 445394.2933 | 15.5601 | 22001.11 | 3.4452 | 66.6767 | 0.0062802 | 85.2 | 0.0012607 | 633.4267 | 0.051305 | 1785.52 | 0.11618 | 355.6067 | 0.11884 | 317937.0967 | 4327.2656 | 9341.16 | 1.5653 | 248430.8233 | 36.1323 | 0 | 0 | 1229.8367 | 0.087518 | 178275.9567 | 120.1176 | 324727.01 | 119.6339 | 571983.5567 | 13.7254 | 1729446.94 | 34.6855 | 222691.2267 | 4.7008 | 198226.0867 | 22.929 | 42521.83 | 5.6978 | 49315.24 | 1.8117 | 56859.9033 | 1.8234 | 78307.28 | 5.8638 | 63344.46 | 0.87441 | 86222.07 | 5.0443 | 65670.6933 | 0.9141 | 59282.1833 | 2.2509 | 25018.3067 | 0.31128 | 34183.21 | 1.8748 | 11899.24 | 0.26312 | 83768.8333 | 4.3169 | 104748.32 | 1.157 | 6142.84 | 0.22732 | 66.6733 | 0.0021486 | 7.4067 | 3.1007 | 385.2433 | 0.0062663 | 392.6533 | 0.020311 | 4845.9567 | 0.24964 |  |  | 1433.5833 | 0.025401 | 24202.7733 | 1.3912 | 20217.6733 | 1.3824 | 50668.3733 | 1.3228 | 648.2467 | 73.088 | 74014.9367 | 1.0865 | 26979.1033 | 0.38744
2016-01-08 15:36 | Sample3 | 7624.95 | 9.6055 | 157353.11 | 9.0691 | 9796.8433 | 1.8488 | 32037.15 | 6.4528 | 22007.5333 | 12.4575 | 845876.2133 | 5467.7345 | 690989.7733 | 112.8016 | 119512.42 | 14.1549 | 14538.3867 | 13.8129 | 2778310.3933 | 734.3908 | 235288.8533 | 14.2116 | 76985.9333 | 16.3734 | 593787.3767 | 44.3518 | 126690.6833 | 86.3421 | 45817.3667 | 20.3917 | 5935.2433 | 3.4205 | 33847.22 | 33.6207 | 240.7767 | 2.1684 | 225906.7 | 57.978 | 314900.5167 | 536.2248 | 3187100.5667 | 639.092 | 209591.0167 | 17.3752 | 2517131.3333 | 221.1127 | 341007.1233 | 11.8934 | 12532.9433 | 1.9556 | 85.1933 | 0.0082285 | 96.31 | 0.0014572 | 666.7667 | 0.054213 | 2159.68 | 0.1408 | 370.4167 | 0.12359 | 321252.6933 | 4365.1138 | 10820.17 | 1.8138 | 164905.3767 | 23.943 | 0 | 0 | 14720.6533 | 1.0605 | 1609401.4267 | 1083.0058 | 2999926.8033 | 1103.6659 | 1482028.2767 | 35.5057 | 3240752.6767 | 64.8896 | 342205.61 | 7.2116 | 245857.95 | 28.3916 | 38167.5767 | 5.1057 | 36697.0867 | 1.3459 | 43428.6933 | 1.3904 | 60207.4367 | 4.5009 | 43275.94 | 0.59639 | 56997.96 | 3.3291 | 44190.8167 | 0.61404 | 42908.4567 | 1.6265 | 18956.1433 | 0.23546 | 28206.83 | 1.5444 | 10212.4967 | 0.22543 | 97315.2333 | 5.0067 | 74440.0833 | 0.82087 | 14565.1833 | 0.54037 | 37.04 | 0.0011917 | 3.7033 | 1.5478 | 366.7167 | 0.005892 | 325.9733 | 0.016733 | 3663.9533 | 0.18582 |  |  | 13393.4967 | 0.24311 | 201569.3733 | 11.6693 | 170916.2133 | 11.7395 | 425898.7433 | 11.1841 | 2137.5067 | 242.5341 | 380221.31 | 5.574 | 120477.1133 | 1.728
2016-01-08 15:40 | QC | 22478.2433 | 13.8114 | 465880.16 | 13.053 | 8977.7633 | 0.82238 | 37160.23 | 3.775 | 29699.56 | 8.1613 | 1063947.86 | 3338.21 | 1091290.96 | 86.4729 | 239333.67 | 13.8174 | 29632.64 | 13.7301 | 2940434.24 | 377.2683 | 281238.23 | 8.2455 | 81025.7333 | 8.3659 | 431527.51 | 15.6401 | 146474.8167 | 48.5394 | 59879.97 | 12.9361 | 19374.57 | 5.4221 | 51191.1133 | 24.684 | 451.9133 | 2.0524 | 482723.4 | 60.1457 | 156456.9467 | 129.3022 | 1560032.95 | 151.8393 | 315314.8033 | 12.6879 | 3810716.3767 | 162.4828 | 439058.54 | 7.4329 | 440679.49 | 33.5202 | 81.49 | 0.0038039 | 114.83 | 0.00086807 | 607.4967 | 0.023731 | 3797.3067 | 0.12107 | 659.3567 | 0.10678 | 334970.7 | 2209.257 | 23162.34 | 1.8971 | 97507.3767 | 6.871 | 0 | 0 | 43167.6633 | 1.5107 | 1487461.45 | 485.847 | 2741168.7833 | 489.4977 | 3279091.8833 | 38.1323 | 8840064.32 | 85.9177 | 999017.7933 | 10.2192 | 725421.12 | 40.6628 | 91123.8433 | 5.9177 | 44951.75 | 0.80025 | 52765.04 | 0.81994 | 110280.6633 | 4.0017 | 71841.7833 | 0.48056 | 90983.6067 | 2.5794 | 70435.64 | 0.4751 | 68409.49 | 1.2587 | 30341.2233 | 0.18293 | 43429.24 | 1.1542 | 15751.8267 | 0.1688 | 168083.3367 | 4.1976 | 84895.5267 | 0.45441 | 17721.1167 | 0.31929 | 111.1233 | 0.0017353 | 3.7033 | 0.75126 | 651.95 | 0.0055787 | 507.4767 | 0.012804 | 4894.12 | 0.12223 |  |  | 38641.5633 | 0.34112 | 337793.7067 | 9.4967 | 294040.4767 | 9.8064 | 860007.5133 | 10.9675 | 4668.0933 | 257.5799 | 2812643.8433 | 20.0154 | 195327.5233 | 1.3599
2016-01-08 15:44 | Sample4 | 45862.09 | 55.8457 | 965070.0667 | 53.5403 | 11394.45 | 2.0659 | 88091.3733 | 20.1215 | 9997.1167 | 5.4334 | 235055.6133 | 1459.5814 | 81073.5367 | 12.7111 | 22857.3267 | 2.5077 | 2759.8667 | 2.4197 | 983195.97 | 249.623 | 31956.67 | 1.8524 | 8640.61 | 1.7183 | 120323.2867 | 8.6058 | 49053.5433 | 31.4556 | 37596.79 | 16.0756 | 4482.7233 | 2.4815 | 37648.7233 | 35.9294 | 203.73 | 1.736 | 540965.1833 | 133.4123 | 55563.8633 | 90.8509 | 526405.96 | 101.405 | 264427.3567 | 21.0603 | 2646179.4867 | 223.3208 | 235936.2367 | 7.9056 | 17197.36 | 2.5811 | 48.1533 | 0.004141 | 66.6733 | 0.00089087 | 385.2367 | 0.027799 | 2633.8967 | 0.16549 | 363.01 | 0.11636 | 334957.3267 | 4372.6155 | 21255.4433 | 3.444 | 122064.59 | 17.0259 | 0 | 0 | 136498.9767 | 9.4577 | 1227928.2367 | 793.8421 | 2368802.9467 | 837.2473 | 932054.83 | 21.4524 | 2285885.8467 | 43.9724 | 236327.1933 | 4.7847 | 167784.4967 | 18.6144 | 29620.4033 | 3.8064 | 16656.4367 | 0.58691 | 19794.22 | 0.60882 | 51415.7767 | 3.6927 | 42514.7967 | 0.56289 | 62496.4833 | 3.5069 | 55268.25 | 0.73784 | 58523.2167 | 2.1312 | 29167.6167 | 0.34807 | 46127.32 | 2.4265 | 17001.6467 | 0.36061 | 119617.3067 | 5.9126 | 88032.79 | 0.93265 | 36831.8533 | 1.3152 | 51.86 | 0.001603 | 18.5167 | 7.4349 | 455.62 | 0.0073379 | 403.76 | 0.020048 | 2574.6267 | 0.12238 |  |  | 45890.8167 | 0.80199 | 327505.93 | 18.2239 | 269877.7333 | 17.8141 | 672828.55 | 16.9809 | 13923.7 | 1522.2921 | 948904.83 | 13.3652 | 380437.2867 | 5.2427
2016-01-08 15:48 | Sample5 | 27987.78 | 34.1993 | 570776.9867 | 31.7927 | 7017.2733 | 1.2777 | 19032.4567 | 2.9821 | 16559.02 | 9.0422 | 582175.4533 | 3630.7647 | 328860.0733 | 51.7947 | 162813.9833 | 18.6473 | 20483.1933 | 18.8271 | 1228193.82 | 313.1794 | 115974.5267 | 6.7574 | 72191.11 | 14.8103 | 559776.32 | 40.3389 | 171098.46 | 112.8865 | 89008.7467 | 38.223 | 22041.4833 | 12.2615 | 41232.88 | 39.5189 | 822.35 | 7.5666 | 878200.0633 | 217.5179 | 121651.43 | 199.8301 | 1171362.02 | 226.6208 | 302198.0733 | 24.1713 | 6704532.6733 | 568.2435 | 686572.4133 | 23.1038 | 17256.7833 | 2.6011 | 62.9733 | 0.0056713 | 125.9433 | 0.0019173 | 526.0067 | 0.040113 | 4423.4733 | 0.28073 | 559.34 | 0.18005 | 331842.6767 | 4350.4433 | 38519.6867 | 6.2858 | 137597.7133 | 19.2749 | 18.52 | 0.12982 | 15811.1633 | 1.0991 | 2063392.0867 | 1339.6901 | 3800290.0467 | 1348.9567 | 7827520.7767 | 180.938 | 21964748.1767 | 424.3447 | 2661074.22 | 54.1082 | 1869539.3367 | 208.3092 | 193051.6633 | 24.9221 | 58704.8267 | 2.0774 | 68237.5167 | 2.1078 | 186716.5133 | 13.4679 | 98142.2 | 1.3049 | 99408.07 | 5.6019 | 68428.85 | 0.91747 | 60602.91 | 2.2164 | 22235.2267 | 0.26648 | 30478.2033 | 1.6101 | 10575.76 | 0.22524 | 289288.13 | 14.361 | 80929.4067 | 0.86105 | 9326.5633 | 0.33327 | 44.45 | 0.0013798 | 3.7033 | 1.4933 | 1003.8733 | 0.017757 | 874.21 | 0.044256 | 2856.2267 | 0.13748 |  |  | 66150.4267 | 1.1613 | 559779.2067 | 31.2911 | 498478.2 | 33.052 | 1736212.2067 | 44.023 | 1396.5533 | 152.6062 | 7443106.1833 | 105.2854 | 165101.9467 | 2.2848
2016-01-08 15:51 | Sample6 | 74.0833 | 0.01141 | 1348.37 | 0.027733 | 7.4067 | 0.00067846 | 14267.63 | 0.90236 | 25.9267 | 0.0040731 | 77.7867 | 0.13947 | 2070.7367 | 0.16174 | 737.1467 | <0.000 | 81.4933 | <0.000 | 388.94 | 0.0033269 | 22.2233 | <0.000 | 114.83 | <0.000 | 496.3667 | <0.000 | 700.1 | <0.000 | 0 | <0.000 | 2126.35 | 0.59415 | 38343.2833 | 18.4875 | 18.5167 | <0.000 | 277.8133 | 0.024465 | 66.6767 | 0.024499 | 414.8733 | 0.036055 | 18.52 | 0.00074522 | 1174.26 | 0.047384 | 48.15 | 0.00068976 | 225.9533 | 0.012962 | 70.38 | 0.0032334 | 0 | <0.000 | 66.6767 | 0.00016154 | 125.94 | 0.0028624 | 0 | 0 | 343879.9533 | 2268.0214 | 103.7133 | <0.000 | 27797.5733 | 1.9575 | 0 | 0 | 33.3367 | 0.00051886 | 96.3067 | 0.0048398 | 192.6167 | 0.017199 | 192.62 | 0.001637 | 529.7 | 0.0041402 | 55.56 | 0.00049257 | 33.3367 | 0.0012459 | 7.4067 | <0.000 | 7.4067 | 0.00013186 | 0 | 0 | 7.4067 | 0.00013439 | 11.11 | 7.4317e-05 | 18.5167 | 0.00052494 | 3.7033 | <0.000 | 22.2233 | 0.00040889 | 0 | 0 | 0 | <0.000 | 3.7033 | 0 | 37.04 | 0.00064761 | 188.9167 | 0.0009914 | 411.17 | 0.006624 | 0 | 0 | 0 | 0 | 51.86 | <0.000 | 11.11 | 0 | 1529.9233 | 0.034628 |  |  | 207.43 | 0.001473 | 500.0733 | 0.0072951 | 418.58 | 0.0092699 | 1137.2467 | 0.0090277 | 22.22 | 0.81868 | 348.1967 | 0.002267 | 25.93 | 7.7356e-05
2016-01-08 15:55 | Sample7 | 7250.6333 | 8.6898 | 144067.07 | 7.9009 | 9722.7133 | 1.7463 | 26114.1833 | 4.684 | 58736.03 | 31.653 | 2058589.4567 | 12664.6336 | 2785276.19 | 432.751 | 122305.62 | 13.7891 | 15484.0067 | 14.0091 | 5926733.35 | 1491.0913 | 593854.6433 | 34.1413 | 52164.3033 | 10.5418 | 206796.1733 | 14.6774 | 194778.9067 | 126.9131 | 50303.08 | 21.3075 | 10193.6667 | 5.5926 | 41853.4 | 39.5689 | 355.6033 | 3.1299 | 169347.3533 | 41.3592 | 173148.8933 | 280.5845 | 1754188.84 | 334.7736 | 403694.9067 | 31.851 | 2164079.85 | 180.922 | 317376.66 | 10.5348 | 1638707.69 | 244.4266 | 33.3367 | 0.0026105 | 96.31 | 0.0013869 | 607.49 | 0.046531 | 1426.1933 | 0.087699 | 955.73 | 0.30348 | 326995.0667 | 4228.6604 | 12080.4567 | 1.9298 | 183520.05 | 25.3598 | 0 | 0 | 15243.3767 | 1.0452 | 977823.27 | 626.2169 | 1897527.9633 | 664.3841 | 993716.6733 | 22.6574 | 2618558.8833 | 49.9 | 302054.12 | 6.0582 | 242705.2 | 26.6745 | 48471.7833 | 6.1714 | 49872.4267 | 1.7409 | 58797.4433 | 1.7915 | 91617.3133 | 6.5185 | 74232.9367 | 0.97362 | 108810.38 | 6.0484 | 90312.5733 | 1.1945 | 90666.2967 | 3.2709 | 41118.2233 | 0.48608 | 61146.88 | 3.1866 | 21835.1533 | 0.45882 | 97326.06 | 4.7655 | 71870.8333 | 0.75428 | 12158.8167 | 0.42905 | 344.4967 | 0.010548 | 3.7033 | 1.473 | 370.4233 | 0.0056769 | 288.93 | 0.014052 | 1818.8667 | 0.082649 |  |  | 13434.4133 | 0.23208 | 165177.5333 | 9.0985 | 139803.97 | 9.1373 | 347949.7067 | 8.6941 | 2845.13 | 307.5071 | 385940.7567 | 5.3847 | 113761.3767 | 1.5529
2016-01-08 15:59 | QC | 22756.4367 | 13.9828 | 469224.95 | 13.1468 | 9585.51 | 0.87805 | 38771.9833 | 3.9772 | 29696.0567 | 8.1603 | 1077794.78 | 3381.657 | 1072684.3267 | 84.9985 | 241874.7367 | 13.9647 | 29150.3367 | 13.5056 | 2947020.4333 | 378.1134 | 279094.0067 | 8.1826 | 80299.4867 | 8.2907 | 430588.6667 | 15.6061 | 145180.1533 | 48.1055 | 59944.1067 | 12.9499 | 19437.4333 | 5.4397 | 52700.8067 | 25.4121 | 322.2633 | 1.4384 | 481303.1467 | 59.9687 | 154604.4467 | 127.7708 | 1566780.6767 | 152.4961 | 314038.47 | 12.6366 | 3806526.0967 | 162.3041 | 435667.3333 | 7.3754 | 440550.0567 | 33.5104 | 37.04 | 0.0015215 | 96.31 | 0.00070733 | 577.8667 | 0.02244 | 3578.67 | 0.11403 | 574.1633 | 0.092982 | 331275.5 | 2184.8839 | 22553.9467 | 1.847 | 96372.6733 | 6.7911 | 7.4067 | 0.026119 | 43182.1467 | 1.5112 | 1471337.97 | 480.5803 | 2734404.9233 | 488.2898 | 3267718.6467 | 38 | 8846604.6533 | 85.9813 | 994006.58 | 10.1679 | 719903.63 | 40.3536 | 88965.87 | 5.7775 | 44788.76 | 0.79735 | 52456.96 | 0.81516 | 108754.4767 | 3.9464 | 71968.65 | 0.48141 | 89896.7333 | 2.5486 | 69374.3167 | 0.46794 | 67665.79 | 1.245 | 30426.1533 | 0.18344 | 42845.6133 | 1.1387 | 15354.8967 | 0.16454 | 164978.9367 | 4.1201 | 83703.0467 | 0.44802 | 17294.5567 | 0.31159 | 144.46 | 0.0022559 | 3.7033 | 0.75126 | 655.6633 | 0.0056141 | 637.14 | 0.016149 | 3282.2967 | 0.080257 |  |  | 38284.7233 | 0.33797 | 336162.9 | 9.4508 | 291713.9867 | 9.7288 | 850750.2633 | 10.8494 | 4686.6033 | 258.6029 | 2789387.3633 | 19.8499 | 192862.05 | 1.3427
2016-01-08 16:03 | Sample8 | 3252.5733 | 3.8534 | 70401.49 | 3.8431 | 4919.8733 | 0.88187 | 18913.7733 | 2.9066 | 54516.5633 | 29.3196 | 2531826.1 | 15544.7753 | 2147512.8367 | 332.9895 | 2530711.28 | 286.9901 | 294322.67 | 267.9398 | 5107968.17 | 1282.5052 | 704113.5433 | 40.3993 | 530926.79 | 107.5605 | 1643193.7133 | 116.6384 | 148755.7833 | 96.4782 | 47994.9533 | 20.2889 | 7621.5267 | 4.1725 | 45430.9467 | 42.8658 | 307.45 | 2.6774 | 33668.8067 | 8.1904 | 197233.7133 | 318.9795 | 2045862.4867 | 389.6541 | 289979.5167 | 22.833 | 1975092.9967 | 164.79 | 463483.32 | 15.3538 | 23035.67 | 3.4209 | 59.2633 | 0.0052102 | 44.45 | 0.0005033 | 514.8867 | 0.03854 | 1770.71 | 0.10923 | 370.42 | 0.11738 | 325125.96 | 4196.0382 | 9849.1033 | 1.5662 | 257391.8367 | 35.4978 | 3.7033 | 0.025555 | 1318.7567 | 0.089079 | 185664.4467 | 118.6219 | 339853.24 | 118.7265 | 597441.73 | 13.5942 | 1837676.2133 | 34.9483 | 234761.1567 | 4.699 | 208013.2833 | 22.8156 | 44505.72 | 5.655 | 51820.5533 | 1.8052 | 59575.0367 | 1.8116 | 82487.09 | 5.8571 | 65710.82 | 0.86012 | 90144.19 | 5.0008 | 68822.65 | 0.90839 | 62519.3233 | 2.2509 | 25897.68 | 0.30554 | 36225.8067 | 1.884 | 12003.14 | 0.25168 | 86802.0933 | 4.2416 | 108586.24 | 1.1373 | 6620.9867 | 0.23245 | 55.5633 | 0.0016979 | 3.7033 | 1.4701 | 351.9 | 0.00532 | 381.5367 | 0.018698 | 1585.49 | 0.070592 |  |  | 1181.68 | 0.01973 | 24781.47 | 1.351 | 20247.3167 | 1.3128 | 50523.0033 | 1.2507 | 688.9933 | 73.711 | 76637.8233 | 1.0668 | 27565.4867 | 0.37537
2016-01-08 16:06 | Sample9 | 7399.01 | 8.9305 | 139861.5333 | 7.7228 | 9081.5667 | 1.6424 | 27394.2267 | 5.0336 | 20876.4533 | 11.3245 | 789098.2 | 4888.1384 | 658126.8167 | 102.9592 | 112548.8467 | 12.7679 | 14379.0833 | 13.0909 | 2701697.11 | 684.3757 | 221620.8067 | 12.8281 | 71232.13 | 14.5143 | 553563.6733 | 39.6218 | 119581.83 | 78.0404 | 43098.5 | 18.3822 | 24556.7967 | 13.5689 | 39153.2367 | 37.2721 | 192.62 | 1.6278 | 221785.3033 | 54.5477 | 306850.6 | 500.74 | 3126199.87 | 600.7549 | 202864.27 | 16.1167 | 2437242.3333 | 205.1725 | 324019.9133 | 10.8299 | 11913.88 | 1.7811 | 51.8567 | 0.0045061 | 85.1967 | 0.0012061 | 533.4067 | 0.040479 | 2011.5167 | 0.12552 | 307.45 | 0.098302 | 301116.0067 | 3920.9685 | 11072.4633 | 1.7792 | 167575.8333 | 23.3168 | 0 | 0 | 14398.0967 | 0.99397 | 1655835.05 | 1067.8178 | 3045771.8267 | 1073.8351 | 1504326.15 | 34.538 | 3296346.11 | 63.2522 | 341372.83 | 6.8943 | 243846.7667 | 26.9858 | 38496.1033 | 4.935 | 36932.06 | 1.2981 | 43512.7433 | 1.335 | 59222.35 | 4.2427 | 41201.8767 | 0.54414 | 55611.2 | 3.1127 | 44354.1367 | 0.59063 | 43201.6667 | 1.5693 | 18968.0333 | 0.22579 | 29514.1567 | 1.5486 | 11043.04 | 0.23361 | 104331.5533 | 5.144 | 78925.3533 | 0.83406 | 12904.5 | 0.45862 | 40.7467 | 0.0012563 | 3.7033 | 1.4833 | 388.9367 | 0.0060646 | 377.83 | 0.018677 | 1259.4767 | 0.054465 |  |  | 13434.75 | 0.23369 | 209098.6533 | 11.6012 | 174708.6767 | 11.5001 | 434692.1333 | 10.9395 | 2359.7533 | 256.6772 | 388555.03 | 5.4588 | 129357.64 | 1.7781
2016-01-08 16:10 | Sample10 | 41119.6033 | 49.9594 | 832982.3533 | 46.1132 | 10352.9967 | 1.8732 | 76806.4333 | 17.2825 | 9229.9433 | 5.0055 | 216723.6633 | 1342.925 | 72000.53 | 11.2645 | 25335.9867 | 2.7863 | 3304.4833 | 2.9153 | 892837.8167 | 226.2006 | 29232.5233 | 1.6907 | 8970.4967 | 1.7822 | 106604.91 | 7.6046 | 45167.0667 | 28.8175 | 34581.7833 | 14.7555 | 8588.7967 | 4.7464 | 41234.0033 | 39.2699 | 170.39 | 1.4205 | 505200.0933 | 124.3307 | 52002.6 | 84.8467 | 487731.1233 | 93.7582 | 244368.02 | 19.4221 | 2489501.82 | 209.6595 | 216988.27 | 7.2555 | 14460.89 | 2.1645 | 37.04 | 0.0030053 | 88.9 | 0.0012701 | 277.8133 | 0.018494 | 2359.7467 | 0.14771 | 385.2367 | 0.12322 | 317565.58 | 4136.9123 | 19460.3567 | 3.1448 | 123617.4767 | 17.2066 | 0 | 0 | 131417.3767 | 9.0866 | 1186555.54 | 765.4928 | 2289981.5933 | 807.6982 | 891984.1567 | 20.4872 | 2204708.73 | 42.3222 | 225640.93 | 4.5588 | 157093.4567 | 17.3919 | 27445.6833 | 3.5195 | 15017.5367 | 0.52806 | 17917.9667 | 0.54996 | 47901.99 | 3.4331 | 41146.05 | 0.54363 | 62620.7 | 3.5065 | 55095.8233 | 0.73401 | 57260.51 | 2.0809 | 28641.6667 | 0.34108 | 45212.8167 | 2.3735 | 16864.84 | 0.35696 | 120173.65 | 5.9277 | 85566.8667 | 0.90463 | 34888.3933 | 1.2431 | 18.52 | 0.00057124 | 22.2267 | 8.9059 | 377.83 | 0.005858 | 418.58 | 0.020761 | 1296.5267 | 0.056393 |  |  | 44932.5067 | 0.78359 | 326346.7233 | 18.1214 | 271957.3167 | 17.914 | 683750.4433 | 17.2207 | 13260.25 | 1446.6931 | 955090.3433 | 13.4242 | 385527.1767 | 5.3018
2016-01-08 16:14 | Sample11 | 24129.68 | 29.3265 | 483133.86 | 26.7717 | 6646.6633 | 1.2041 | 19878.4067 | 3.177 | 15539.77 | 8.4424 | 533959.4567 | 3313.2045 | 299220.3933 | 46.8878 | 145830.2233 | 16.6056 | 18235.5467 | 16.663 | 1132294.7467 | 287.2585 | 104528.02 | 6.0594 | 65679.6933 | 13.4015 | 480108.8267 | 34.4178 | 158647.87 | 104.064 | 83540.8333 | 35.6934 | 19771.42 | 10.9429 | 45349.9533 | 43.246 | 526 | 4.7528 | 816552.13 | 201.2243 | 112278.93 | 183.497 | 1107015.1733 | 213.0881 | 281032.93 | 22.3647 | 6493269.59 | 547.5543 | 629227.5967 | 21.067 | 12673.7333 | 1.8984 | 29.63 | 0.0022567 | 159.28 | 0.0024798 | 533.4133 | 0.040548 | 4297.5133 | 0.27129 | 529.7067 | 0.16965 | 310710.1733 | 4052.7744 | 36666.9233 | 5.9521 | 108764.5533 | 15.1581 | 14.8133 | 0.10331 | 15314 | 1.0591 | 1998651.9267 | 1291.092 | 3640498.3467 | 1285.6999 | 7404608.5567 | 170.2964 | 20860621.07 | 400.9754 | 2506527.14 | 50.708 | 1778801.11 | 197.1964 | 183731.9767 | 23.5989 | 56401.0833 | 1.9858 | 66180.1833 | 2.0339 | 179716.9733 | 12.8975 | 95777.71 | 1.2671 | 96333.41 | 5.4012 | 65846.2867 | 0.87838 | 59827.0967 | 2.177 | 22239.9033 | 0.26518 | 29574.2633 | 1.5544 | 10557.4033 | 0.22372 | 296449.2067 | 14.6421 | 78198.5767 | 0.82778 | 8618.6833 | 0.3063 | 22.2233 | 0.00068635 | 7.4067 | 2.9715 | 1152.0867 | 0.020461 | 1029.8067 | 0.05197 | 1666.9867 | 0.075542 |  |  | 64780.36 | 1.1315 | 544455.6067 | 30.2802 | 484724.1167 | 31.9772 | 1692717.3267 | 42.7028 | 1415.0733 | 153.8587 | 7315883.8433 | 102.9624 | 168054.6333 | 2.3139
2016-01-08 16:18 | QC | 20208.33 | 12.4132 | 402125.4 | 11.2654 | 8525.6433 | 0.78096 | 39850.0867 | 4.1125 | 26897.9867 | 7.3911 | 962433.2333 | 3019.6908 | 959570.0467 | 76.0352 | 218426.6967 | 12.6053 | 28026.23 | 12.9824 | 2731225.7567 | 350.4228 | 255236.68 | 7.4831 | 74224.57 | 7.6614 | 395061.9467 | 14.317 | 133424.45 | 44.166 | 54935.3267 | 11.8678 | 18094.82 | 5.0638 | 47645.9433 | 22.9742 | 370.4267 | 1.6665 | 447389.7033 | 55.7425 | 145031.1867 | 119.8572 | 1468436.0267 | 142.9239 | 294584.0533 | 11.8537 | 3528857.8933 | 150.4646 | 400240.5533 | 6.7757 | 400496.3967 | 30.4633 | 44.4533 | 0.0019022 | 144.4633 | 0.0011253 | 566.7467 | 0.021955 | 3437.8733 | 0.1095 | 722.3333 | 0.11698 | 309843.0367 | 2043.5178 | 21192.7567 | 1.7349 | 88286.9 | 6.2211 | 0 | 0 | 40337.0767 | 1.4116 | 1409730.5133 | 460.4565 | 2622961.5167 | 468.3883 | 3120167.72 | 36.2842 | 8441220.6767 | 82.0413 | 949732.3467 | 9.715 | 682992.5 | 38.2845 | 86014.29 | 5.5858 | 43319.2333 | 0.77119 | 50533.5267 | 0.78527 | 106504.63 | 3.8647 | 69428.9 | 0.46442 | 86233.48 | 2.4447 | 67385.5367 | 0.45452 | 64196.9467 | 1.1812 | 27925.7 | 0.16837 | 41566.84 | 1.1047 | 15299.7767 | 0.16395 | 161684.2333 | 4.0378 | 80523.7867 | 0.43101 | 16238.1433 | 0.29251 | 159.28 | 0.0024873 | 7.4067 | 1.5025 | 626.0267 | 0.0053316 | 607.5133 | 0.015385 | 2626.4867 | 0.063181 |  |  | 36026.1067 | 0.31801 | 323998.26 | 9.1085 | 277006.06 | 9.2381 | 816129.7067 | 10.4076 | 4482.8633 | 247.3429 | 2665951.71 | 18.9715 | 186386.2967 | 1.2977
2016-01-08 16:21 | Sample12 | 85.1967 | 0.018255 | 1185.3667 | 0.023162 | 33.3367 | 0.0030537 | 17983.3367 | 1.3686 | 33.34 | 0.0061109 | 351.9067 | 0.99957 | 1007.5667 | 0.077493 | 437.1067 | <0.000 | 40.7467 | <0.000 | 918.7533 | 0.071312 | 122.24 | 0.0023897 | 262.9967 | 0.0003836 | 381.5367 | <0.000 | 240.77 | <0.000 | 11.11 | 0.0016002 | 174.0967 | 0.047694 | 35424.9767 | 17.08 | 18.5167 | <0.000 | 474.1567 | 0.048933 | 100.02 | 0.052061 | 655.6767 | 0.059493 | 103.7167 | 0.0041734 | 2863.7467 | 0.11942 | 240.7733 | 0.0039507 | 914.9533 | 0.065378 | 48.1533 | 0.0020922 | 40.7467 | 0.00022506 | 77.7867 | 0.00064573 | 129.6467 | 0.0029817 | 7.4067 | 0.0011995 | 312190.94 | 2059.0043 | 44.45 | <0.000 | 4745.7633 | 0.33268 | 3.7033 | 0.013059 | 88.8967 | 0.0024641 | 418.5833 | 0.11011 | 629.76 | 0.095263 | 681.63 | 0.0073237 | 1689.4133 | 0.015412 | 214.8433 | 0.0021219 | 166.6933 | 0.0087212 | 25.9267 | 0.00096211 | 29.63 | 0.00052748 | 40.7467 | 0.00063318 | 40.75 | 0.0013444 | 92.6067 | 0.00061946 | 33.3333 | 0.00094499 | 59.2667 | 0.00032488 | 55.5633 | 0.0010223 | 81.49 | 0.00049131 | 40.7467 | 0.0009846 | 33.3367 | 0.00031762 | 133.3467 | 0.0030529 | 118.5333 | 0.00061466 | 440.8033 | 0.0071593 | 11.1133 | 0.00017355 | 0 | 0 | 74.0833 | 7.063e-05 | 44.4533 | 0.00086012 | 774.2033 | 0.014951 |  |  | 200.0333 | 0.0014076 | 374.13 | 0.0037518 | 218.5533 | 0.0025957 | 889.04 | 0.0058608 | 22.2267 | 0.81905 | 511.2033 | 0.003427 | 118.5367 | 0.00072215
2016-01-08 16:25 | Sample13 | 5738.8167 | 7.0444 | 116831.1233 | 6.5719 | 8151.2767 | 1.5025 | 26147.4833 | 4.8156 | 49922.4633 | 27.6099 | 1801450.6767 | 11374.0948 | 2404627.1367 | 383.4329 | 107925.8 | 12.4741 | 13166.6167 | 12.207 | 5192555.96 | 1340.7223 | 510868.4233 | 30.1423 | 46014.2067 | 9.5371 | 175483.95 | 12.777 | 171092.8033 | 114.2776 | 44030.5833 | 19.1408 | 6913.58 | 3.8921 | 35547.62 | 34.4894 | 281.52 | 2.5062 | 148173.9633 | 37.1371 | 151269.3867 | 251.5673 | 1540227.5667 | 301.6691 | 349515.68 | 28.3014 | 1876130.32 | 160.9726 | 275440.2633 | 9.3832 | 1384077.6333 | 211.8738 | 29.6333 | 0.0022965 | 77.7833 | 0.0010998 | 785.3033 | 0.063348 | 1337.27 | 0.084244 | 796.42 | 0.25954 | 292426.21 | 3881.0248 | 10909.29 | 1.7864 | 63144.3833 | 8.9527 | 0 | 0 | 13578.5433 | 0.95534 | 876532.0933 | 576.1036 | 1697510.24 | 609.977 | 888562.99 | 20.7924 | 2357101.0667 | 46.0985 | 271229.8033 | 5.583 | 222375.3867 | 25.0827 | 44187.6567 | 5.7738 | 45429.99 | 1.6275 | 53620.4567 | 1.6767 | 83162.45 | 6.0725 | 68580.94 | 0.92315 | 99818.5533 | 5.6945 | 83971.2033 | 1.1398 | 82708.1133 | 3.0622 | 37962.6433 | 0.46058 | 55159.45 | 2.9501 | 20306.9867 | 0.43792 | 87720.0067 | 4.4081 | 65144.5133 | 0.70166 | 11243.4233 | 0.40706 | 459.3233 | 0.014434 | 7.4067 | 3.0236 | 451.9167 | 0.0073892 | 325.9733 | 0.016344 | 1003.87 | 0.042119 |  |  | 12781.97 | 0.22658 | 164375.23 | 9.2923 | 137800.6033 | 9.243 | 342802.67 | 8.7906 | 2507.9467 | 278.0939 | 354850.7533 | 5.0811 | 104918.7433 | 1.4698
2016-01-08 16:29 | Sample14 | 2707.9333 | 3.2724 | 58166.75 | 3.2466 | 4430.8 | 0.81295 | 20646.0267 | 3.4106 | 47963.7067 | 26.4035 | 2233618.1633 | 14037.4672 | 1886435.2567 | 299.4097 | 2209306.6467 | 256.4397 | 257169.88 | 239.6267 | 4494120.82 | 1154.9987 | 608130.4467 | 35.7152 | 460142.6033 | 95.4131 | 1414336.8533 | 102.7577 | 130827.83 | 86.7213 | 42255.1767 | 18.2839 | 6713.4767 | 3.7619 | 34608.4433 | 33.4224 | 296.33 | 2.6351 | 29158.4067 | 7.2578 | 180427.5533 | 298.6805 | 1828743.1133 | 356.5204 | 259089.2433 | 20.8821 | 1746173.3633 | 149.1279 | 408561.4333 | 13.8538 | 21637.41 | 3.2886 | 33.3367 | 0.0026668 | 85.1967 | 0.0012236 | 481.5533 | 0.03654 | 1674.3967 | 0.1056 | 355.6 | 0.11535 | 290976.06 | 3843.8903 | 9170.7567 | 1.4912 | 105580.8167 | 14.9025 | 0 | 0 | 1266.8833 | 0.087544 | 171107.7367 | 111.8973 | 312412.65 | 111.7131 | 542202.9867 | 12.6283 | 1665446.48 | 32.4202 | 209752.2167 | 4.2975 | 183388.83 | 20.5892 | 40156.1167 | 5.2226 | 45767.97 | 1.632 | 53571.97 | 1.6675 | 75908.2533 | 5.5171 | 61318.3933 | 0.82156 | 84995.98 | 4.8265 | 65997.4667 | 0.89165 | 60010.0767 | 2.2115 | 24871.0233 | 0.30035 | 34111.37 | 1.8159 | 11439.82 | 0.24552 | 79835.55 | 3.9932 | 97981.2533 | 1.0505 | 5046.0967 | 0.18096 | 51.8567 | 0.001622 | 14.8167 | 6.0205 | 344.4933 | 0.0053041 | 344.4967 | 0.017226 | 1074.27 | 0.045596 |  |  | 1089.0767 | 0.018556 | 28936.8733 | 1.6171 | 24686.0533 | 1.6404 | 60495.01 | 1.5351 | 674.1767 | 73.8104 | 75828.02 | 1.0804 | 26650.8367 | 0.37147
2016-01-08 16:33 | Sample15 | 6961.6333 | 8.5222 | 138775.1833 | 7.7755 | 8929.58 | 1.6387 | 34561.57 | 6.9095 | 20872.7933 | 11.4892 | 787949.1067 | 4952.8662 | 635223.74 | 100.8388 | 108225.5967 | 12.4537 | 13433.68 | 12.402 | 2622411.4 | 674.0669 | 221167.6867 | 12.9903 | 72382.21 | 14.9666 | 547790.1333 | 39.7854 | 114562.5567 | 75.8194 | 43510.51 | 18.8311 | 5598.0733 | 3.1372 | 37151.5333 | 35.8866 | 181.5033 | 1.5463 | 208511.6967 | 52.0368 | 283568.3033 | 469.5531 | 2917181.3133 | 568.8392 | 186014.85 | 14.9956 | 2300663.9967 | 196.5256 | 307358.32 | 10.4242 | 11127.97 | 1.6875 | 22.2233 | 0.0015241 | 114.83 | 0.0017391 | 637.13 | 0.050131 | 2378.29 | 0.15102 | 359.31 | 0.11657 | 297702.5467 | 3933.5769 | 11228.09 | 1.8311 | 84360.0767 | 11.909 | 0 | 0 | 13363.63 | 0.93604 | 1475417.4933 | 965.4691 | 2748155.6467 | 983.1643 | 1327849.1167 | 30.9348 | 2980401.0833 | 58.0313 | 318682.1367 | 6.5307 | 239049.5133 | 26.8443 | 38344.0833 | 4.9879 | 39164.8267 | 1.3968 | 47425.7867 | 1.4765 | 65346.3733 | 4.7504 | 44895.5867 | 0.60165 | 58570.64 | 3.3266 | 43375.59 | 0.58609 | 40060.1767 | 1.4766 | 17009.1767 | 0.20545 | 23883.5 | 1.2716 | 8896.62 | 0.19096 | 83278.64 | 4.1663 | 66290.8433 | 0.71085 | 13957.3833 | 0.50347 | 29.63 | 0.00092699 | 11.11 | 4.5153 | 507.4767 | 0.0084175 | 370.4267 | 0.018569 | 985.3533 | 0.040967 |  |  | 14298.5 | 0.25243 | 218472.62 | 12.3003 | 175130.19 | 11.6975 | 419885.2967 | 10.722 | 2226.43 | 245.6936 | 339211.7167 | 4.8357 | 102940.6 | 1.4357
2016-01-08 16:36 | QC | 20123.1967 | 12.3608 | 391874.39 | 10.9779 | 8295.8567 | 0.75991 | 39095.22 | 4.0178 | 27506.4733 | 7.5584 | 949434.2867 | 2978.9045 | 946376.83 | 74.9897 | 214720.5767 | 12.3904 | 26029.72 | 12.0531 | 2671160.1267 | 342.7152 | 252728.3 | 7.4095 | 70825.9333 | 7.3094 | 387797.9133 | 14.0534 | 130730.69 | 43.2633 | 54266.2033 | 11.7232 | 17015.7767 | 4.7618 | 46662.03 | 22.4997 | 344.4967 | 1.5437 | 436187.3567 | 54.3465 | 139788.91 | 115.5238 | 1433439.6467 | 139.5175 | 286137.9867 | 11.5139 | 3462302.19 | 147.6267 | 390138.1967 | 6.6047 | 394474.43 | 30.0052 | 25.93 | 0.00095109 | 88.9033 | 0.00064304 | 477.85 | 0.018081 | 3352.6733 | 0.10675 | 529.7067 | 0.085783 | 308673.7767 | 2035.8055 | 20858.6267 | 1.7073 | 88442.9667 | 6.2321 | 0 | 0 | 40567.4467 | 1.4197 | 1365199.58 | 445.9106 | 2575136.0233 | 459.8477 | 3073222.6067 | 35.7382 | 8285747.35 | 80.5302 | 932399.0267 | 9.5377 | 676165.77 | 37.9018 | 84239.1567 | 5.4705 | 41966.4533 | 0.7471 | 49578.0867 | 0.77042 | 104563.95 | 3.7943 | 69310.9533 | 0.46363 | 86004.66 | 2.4382 | 67228.3467 | 0.45346 | 64964.9833 | 1.1953 | 27817.9267 | 0.16772 | 40404.18 | 1.0738 | 14754.5033 | 0.15811 | 155575.6633 | 3.8853 | 79537.4767 | 0.42573 | 15611.47 | 0.28119 | 185.2167 | 0.0028924 | 14.8167 | 3.0057 | 637.1367 | 0.0054375 | 563.0567 | 0.014238 | 2404.2133 | 0.057393 |  |  | 36545.4933 | 0.3226 | 330948.5967 | 9.3041 | 284299.5833 | 9.4814 | 829385.3633 | 10.5768 | 4631.02 | 255.531 | 2665703.4133 | 18.9697 | 179494.0833 | 1.2497

## QC
|  |  | 6 Li [ No Gas ] |  | 7 Li [ No Gas ] |  | 9 Be [ No Gas ] |  | 11 B [ No Gas ] |  | 45 Sc [ He ] |  | 47 Ti [ He ] |  | 51 V [ He ] |  | 52 Cr [ He ] |  | 53 Cr [ He ] |  | 55 Mn [ He ] |  | 59 Co [ He ] |  | 60 Ni [ He ] |  | 63 Cu [ He ] |  | 66 Zn [ He ] |  | 71 Ga [ He ] |  | 72 Ge [ He ] |  | 75 As [ He ] |  | 78 Se [ He ] |  | 85 Rb [ He ] |  | 86 Sr [ He ] |  | 88 Sr [ He ] |  | 89 Y [ He ] |  | 90 Zr [ He ] |  | 93 Nb [ He ] |  | 95 Mo [ He ] |  | 101 Ru [ He ] |  | 103 Rh [ He ] |  | 105 Pd [ He ] |  | 107 Ag [ He ] |  | 111 Cd [ He ] |  | 115 In [ He ] |  | 118 Sn [ He ] |  | 121 Sb [ He ] |  | 125 Te [ He ] |  | 133 Cs [ He ] |  | 135 Ba [ He ] |  | 137 Ba [ He ] |  | 139 La [ He ] |  | 140 Ce [ He ] |  | 141 Pr [ He ] |  | 146 Nd [ He ] |  | 147 Sm [ He ] |  | 151 Eu [ He ] |  | 153 Eu [ He ] |  | 157 Gd [ He ] |  | 159 Tb [ He ] |  | 163 Dy [ He ] |  | 165 Ho [ He ] |  | 166 Er [ He ] |  | 169 Tm [ He ] |  | 172 Yb [ He ] |  | 175 Lu [ He ] |  | 178 Hf [ He ] |  | 181 Ta [ He ] |  | 182 W [ He ] |  | 185 Re [ He ] |  | 189 Os [ He ] |  | 193 Ir [ He ] |  | 195 Pt [ He ] |  | 197 Au [ He ] |  | 201 Hg [ He ] |  | 205 Tl [ He ] |  | 206 Pb [ He ] |  | 207 Pb [ He ] |  | 208 Pb [ He ] |  | 209 Bi [ He ] |  | 232 Th [ He ] |  | 238 U [ He ]
采集日期时间 | 样品类型 | 相对于第一个QC的时间差 | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ]
2016-01-08 15:25 | QC | 0 | 22800.6567 | 14.01 | 469819.9533 | 13.1635 | 9318.75 | 0.85361 | 39380.82 | 4.0536 | 30352.5533 | 8.3408 | 1033484.1067 | 3242.6248 | 1045997.1733 | 82.8838 | 238106.92 | 13.7463 | 29451.26 | 13.6456 | 2866070.6667 | 367.726 | 277778.3 | 8.1441 | 78832.5633 | 8.1387 | 428140.8333 | 15.5173 | 145016.7433 | 48.0507 | 60230.1533 | 13.0117 | 19103.77 | 5.3463 | 51529.1333 | 24.847 | 503.7733 | 2.2979 | 485147.1267 | 60.4478 | 156661.74 | 129.4715 | 1540356.37 | 149.9241 | 315233.6867 | 12.6847 | 3719029.57 | 158.5733 | 436484.4767 | 7.3893 | 437347.1 | 33.2667 | 196.3267 | 0.0097002 | 233.3633 | 0.0018969 | 1044.6133 | 0.042782 | 5334.9033 | 0.17058 | 592.6767 | 0.09598 | 335834.4167 | 2214.954 | 23462.7533 | 1.9219 | 97667.4133 | 6.8823 | 7.41 | 0.026131 | 44185.1367 | 1.5463 | 1468992.5233 | 479.8142 | 2734936.23 | 488.3847 | 3220171.3067 | 37.4471 | 8689134.3367 | 84.4508 | 1005792.4 | 10.2885 | 728952.9667 | 40.8608 | 90913.5333 | 5.904 | 44702.85 | 0.79582 | 52787.1867 | 0.82029 | 112006.5733 | 4.0644 | 73044.57 | 0.48861 | 90706.38 | 2.5715 | 70949.54 | 0.47857 | 68249.98 | 1.2557 | 29795.1233 | 0.17964 | 43952.74 | 1.1682 | 15525.5367 | 0.16637 | 169618.9033 | 4.236 | 124053.91 | 0.66401 | 23192.9833 | 0.41813 | 222.25 | 0.0034707 | 7.4067 | 1.5025 | 1270.6033 | 0.011475 | 614.9133 | 0.015576 | 44162.56 | 1.1447 |  |  | 39811.5333 | 0.35146 | 344123.65 | 9.6747 | 293149.08 | 9.7767 | 867110.4133 | 11.0581 | 4664.43 | 257.3774 | 2791280.6767 | 19.8634 | 195452.6267 | 1.3608
2016-01-08 15:40 | QC | 0.010822 | 22478.2433 | 13.8114 | 465880.16 | 13.053 | 8977.7633 | 0.82238 | 37160.23 | 3.775 | 29699.56 | 8.1613 | 1063947.86 | 3338.21 | 1091290.96 | 86.4729 | 239333.67 | 13.8174 | 29632.64 | 13.7301 | 2940434.24 | 377.2683 | 281238.23 | 8.2455 | 81025.7333 | 8.3659 | 431527.51 | 15.6401 | 146474.8167 | 48.5394 | 59879.97 | 12.9361 | 19374.57 | 5.4221 | 51191.1133 | 24.684 | 451.9133 | 2.0524 | 482723.4 | 60.1457 | 156456.9467 | 129.3022 | 1560032.95 | 151.8393 | 315314.8033 | 12.6879 | 3810716.3767 | 162.4828 | 439058.54 | 7.4329 | 440679.49 | 33.5202 | 81.49 | 0.0038039 | 114.83 | 0.00086807 | 607.4967 | 0.023731 | 3797.3067 | 0.12107 | 659.3567 | 0.10678 | 334970.7 | 2209.257 | 23162.34 | 1.8971 | 97507.3767 | 6.871 | 0 | 0 | 43167.6633 | 1.5107 | 1487461.45 | 485.847 | 2741168.7833 | 489.4977 | 3279091.8833 | 38.1323 | 8840064.32 | 85.9177 | 999017.7933 | 10.2192 | 725421.12 | 40.6628 | 91123.8433 | 5.9177 | 44951.75 | 0.80025 | 52765.04 | 0.81994 | 110280.6633 | 4.0017 | 71841.7833 | 0.48056 | 90983.6067 | 2.5794 | 70435.64 | 0.4751 | 68409.49 | 1.2587 | 30341.2233 | 0.18293 | 43429.24 | 1.1542 | 15751.8267 | 0.1688 | 168083.3367 | 4.1976 | 84895.5267 | 0.45441 | 17721.1167 | 0.31929 | 111.1233 | 0.0017353 | 3.7033 | 0.75126 | 651.95 | 0.0055787 | 507.4767 | 0.012804 | 4894.12 | 0.12223 |  |  | 38641.5633 | 0.34112 | 337793.7067 | 9.4967 | 294040.4767 | 9.8064 | 860007.5133 | 10.9675 | 4668.0933 | 257.5799 | 2812643.8433 | 20.0154 | 195327.5233 | 1.3599
2016-01-08 15:59 | QC | 0.023808 | 22756.4367 | 13.9828 | 469224.95 | 13.1468 | 9585.51 | 0.87805 | 38771.9833 | 3.9772 | 29696.0567 | 8.1603 | 1077794.78 | 3381.657 | 1072684.3267 | 84.9985 | 241874.7367 | 13.9647 | 29150.3367 | 13.5056 | 2947020.4333 | 378.1134 | 279094.0067 | 8.1826 | 80299.4867 | 8.2907 | 430588.6667 | 15.6061 | 145180.1533 | 48.1055 | 59944.1067 | 12.9499 | 19437.4333 | 5.4397 | 52700.8067 | 25.4121 | 322.2633 | 1.4384 | 481303.1467 | 59.9687 | 154604.4467 | 127.7708 | 1566780.6767 | 152.4961 | 314038.47 | 12.6366 | 3806526.0967 | 162.3041 | 435667.3333 | 7.3754 | 440550.0567 | 33.5104 | 37.04 | 0.0015215 | 96.31 | 0.00070733 | 577.8667 | 0.02244 | 3578.67 | 0.11403 | 574.1633 | 0.092982 | 331275.5 | 2184.8839 | 22553.9467 | 1.847 | 96372.6733 | 6.7911 | 7.4067 | 0.026119 | 43182.1467 | 1.5112 | 1471337.97 | 480.5803 | 2734404.9233 | 488.2898 | 3267718.6467 | 38 | 8846604.6533 | 85.9813 | 994006.58 | 10.1679 | 719903.63 | 40.3536 | 88965.87 | 5.7775 | 44788.76 | 0.79735 | 52456.96 | 0.81516 | 108754.4767 | 3.9464 | 71968.65 | 0.48141 | 89896.7333 | 2.5486 | 69374.3167 | 0.46794 | 67665.79 | 1.245 | 30426.1533 | 0.18344 | 42845.6133 | 1.1387 | 15354.8967 | 0.16454 | 164978.9367 | 4.1201 | 83703.0467 | 0.44802 | 17294.5567 | 0.31159 | 144.46 | 0.0022559 | 3.7033 | 0.75126 | 655.6633 | 0.0056141 | 637.14 | 0.016149 | 3282.2967 | 0.080257 |  |  | 38284.7233 | 0.33797 | 336162.9 | 9.4508 | 291713.9867 | 9.7288 | 850750.2633 | 10.8494 | 4686.6033 | 258.6029 | 2789387.3633 | 19.8499 | 192862.05 | 1.3427
2016-01-08 16:18 | QC | 0.036817 | 20208.33 | 12.4132 | 402125.4 | 11.2654 | 8525.6433 | 0.78096 | 39850.0867 | 4.1125 | 26897.9867 | 7.3911 | 962433.2333 | 3019.6908 | 959570.0467 | 76.0352 | 218426.6967 | 12.6053 | 28026.23 | 12.9824 | 2731225.7567 | 350.4228 | 255236.68 | 7.4831 | 74224.57 | 7.6614 | 395061.9467 | 14.317 | 133424.45 | 44.166 | 54935.3267 | 11.8678 | 18094.82 | 5.0638 | 47645.9433 | 22.9742 | 370.4267 | 1.6665 | 447389.7033 | 55.7425 | 145031.1867 | 119.8572 | 1468436.0267 | 142.9239 | 294584.0533 | 11.8537 | 3528857.8933 | 150.4646 | 400240.5533 | 6.7757 | 400496.3967 | 30.4633 | 44.4533 | 0.0019022 | 144.4633 | 0.0011253 | 566.7467 | 0.021955 | 3437.8733 | 0.1095 | 722.3333 | 0.11698 | 309843.0367 | 2043.5178 | 21192.7567 | 1.7349 | 88286.9 | 6.2211 | 0 | 0 | 40337.0767 | 1.4116 | 1409730.5133 | 460.4565 | 2622961.5167 | 468.3883 | 3120167.72 | 36.2842 | 8441220.6767 | 82.0413 | 949732.3467 | 9.715 | 682992.5 | 38.2845 | 86014.29 | 5.5858 | 43319.2333 | 0.77119 | 50533.5267 | 0.78527 | 106504.63 | 3.8647 | 69428.9 | 0.46442 | 86233.48 | 2.4447 | 67385.5367 | 0.45452 | 64196.9467 | 1.1812 | 27925.7 | 0.16837 | 41566.84 | 1.1047 | 15299.7767 | 0.16395 | 161684.2333 | 4.0378 | 80523.7867 | 0.43101 | 16238.1433 | 0.29251 | 159.28 | 0.0024873 | 7.4067 | 1.5025 | 626.0267 | 0.0053316 | 607.5133 | 0.015385 | 2626.4867 | 0.063181 |  |  | 36026.1067 | 0.31801 | 323998.26 | 9.1085 | 277006.06 | 9.2381 | 816129.7067 | 10.4076 | 4482.8633 | 247.3429 | 2665951.71 | 18.9715 | 186386.2967 | 1.2977
2016-01-08 16:36 | QC | 0.049826 | 20123.1967 | 12.3608 | 391874.39 | 10.9779 | 8295.8567 | 0.75991 | 39095.22 | 4.0178 | 27506.4733 | 7.5584 | 949434.2867 | 2978.9045 | 946376.83 | 74.9897 | 214720.5767 | 12.3904 | 26029.72 | 12.0531 | 2671160.1267 | 342.7152 | 252728.3 | 7.4095 | 70825.9333 | 7.3094 | 387797.9133 | 14.0534 | 130730.69 | 43.2633 | 54266.2033 | 11.7232 | 17015.7767 | 4.7618 | 46662.03 | 22.4997 | 344.4967 | 1.5437 | 436187.3567 | 54.3465 | 139788.91 | 115.5238 | 1433439.6467 | 139.5175 | 286137.9867 | 11.5139 | 3462302.19 | 147.6267 | 390138.1967 | 6.6047 | 394474.43 | 30.0052 | 25.93 | 0.00095109 | 88.9033 | 0.00064304 | 477.85 | 0.018081 | 3352.6733 | 0.10675 | 529.7067 | 0.085783 | 308673.7767 | 2035.8055 | 20858.6267 | 1.7073 | 88442.9667 | 6.2321 | 0 | 0 | 40567.4467 | 1.4197 | 1365199.58 | 445.9106 | 2575136.0233 | 459.8477 | 3073222.6067 | 35.7382 | 8285747.35 | 80.5302 | 932399.0267 | 9.5377 | 676165.77 | 37.9018 | 84239.1567 | 5.4705 | 41966.4533 | 0.7471 | 49578.0867 | 0.77042 | 104563.95 | 3.7943 | 69310.9533 | 0.46363 | 86004.66 | 2.4382 | 67228.3467 | 0.45346 | 64964.9833 | 1.1953 | 27817.9267 | 0.16772 | 40404.18 | 1.0738 | 14754.5033 | 0.15811 | 155575.6633 | 3.8853 | 79537.4767 | 0.42573 | 15611.47 | 0.28119 | 185.2167 | 0.0028924 | 14.8167 | 3.0057 | 637.1367 | 0.0054375 | 563.0567 | 0.014238 | 2404.2133 | 0.057393 |  |  | 36545.4933 | 0.3226 | 330948.5967 | 9.3041 | 284299.5833 | 9.4814 | 829385.3633 | 10.5768 | 4631.02 | 255.531 | 2665703.4133 | 18.9697 | 179494.0833 | 1.2497
|  |  | 6 Li [ No Gas ] |  | 47 Ti [ He ] |  | 6 Li [ No Gas ] （QC校正后） |  |  | 47 Ti [ He ] （QC校正后）
采集日期时间 | 注释 | 相对于第一个QC的时间差 | CPS | 浓度 [ ppb ] | CPS | 浓度 [ ppb ] | 浓度 [ ppb ] |  |  | 浓度 [ ppb ]
2016-01-08 15:25 | QC | 0 | 22800.6567 | 14.01 | 1033484.1067 | 3242.6248 | 14.01 |  |  | 3242.6497
2016-01-08 15:28 | Sample1 | 0.0027083 | 6531.72 | 8.2593 | 1912939.4967 | 12427.2488 | 8.4366 |  |  | 12463.9026
2016-01-08 15:32 | Sample2 | 0.005463 | 3337.7933 | 4.1721 | 2358762.4633 | 15272.8368 | 4.2874 |  |  | 15201.562
2016-01-08 15:36 | Sample3 | 0.0081829 | 7624.95 | 9.6055 | 845876.2133 | 5467.7345 | 9.8317 |  |  | 5359.502
2016-01-08 15:44 | Sample4 | 0.013414 | 45862.09 | 55.8457 | 235055.6133 | 1459.5814 | 56.1683 |  |  | 1368.2716
2016-01-08 15:48 | Sample5 | 0.016042 | 27987.78 | 34.1993 | 582175.4533 | 3630.7647 | 34.1666 |  |  | 3308.293
2016-01-08 15:51 | Sample6 | 0.018611 | 74.0833 | 0.01141 | 77.7867 | 0.13947 | 0.011376 |  |  | 0.12311
2016-01-08 15:55 | Sample7 | 0.021215 | 7250.6333 | 8.6898 | 2058589.4567 | 12664.6336 | 8.7017 |  |  | 10775.8513
2016-01-08 16:03 | Sample8 | 0.026412 | 3252.5733 | 3.8534 | 2531826.1 | 15544.7753 | 3.9837 |  |  | 12067.0568
2016-01-08 16:06 | Sample9 | 0.028993 | 7399.01 | 8.9305 | 789098.2 | 4888.1384 | 9.4987 |  |  | 3583.485
2016-01-08 16:10 | Sample10 | 0.031586 | 41119.6033 | 49.9594 | 216723.6633 | 1342.925 | 55.1402 |  |  | 920.7535
2016-01-08 16:14 | Sample11 | 0.03419 | 24129.68 | 29.3265 | 533959.4567 | 3313.2045 | 33.8561 |  |  | 2101.8034
2016-01-08 16:21 | Sample12 | 0.039387 | 85.1967 | 0.018255 | 351.9067 | 0.99957 | 0.023438 |  |  | 0.52544
2016-01-08 16:25 | Sample13 | 0.042002 | 5738.8167 | 7.0444 | 1801450.6767 | 11374.0948 | 9.5587 |  |  | 5352.738
2016-01-08 16:29 | Sample14 | 0.044606 | 2707.9333 | 3.2724 | 2233618.1633 | 14037.4672 | 4.6639 |  |  | 5861.0094
2016-01-08 16:33 | Sample15 | 0.047222 | 6961.6333 | 8.5222 | 787949.1067 | 4952.8662 | 12.584 |  |  | 1818.6987
原理：以Li6和Ti47这两种元素为例,随着测试时间增加，QC（quality control）样品（测试的多个QC样品为同一个样品）的Li6和Ti47两种元素测试所得到的含量发生变化，这种变化我们认为是由于仪器信号的漂移引起的，而我们所测的实际样品（如sheet1中的sample1-15）中的Li6和Ti47元素也会随着时间发生相同程度的漂移，我们需要根据QC样品的元素漂移情况对所测的实际样品的元素漂移进行校正。校正公式为：样品真实值/样品测量值=QC真实值/样品测试时间所对应的QC值。QC真实值为第一个QC的值（即把所有样品都校正回零时间点）。样品测试时间所对应的QC值由下图中的回归方程得出。图下面是以元素47Ti和6Li为例，对所有样品的校正过程。这里仅以6Li和47Ti两种元素为例，实际上每一种元素的含量都会因为仪器漂移而发生改变，因此我们需要根据每一种元素的QC多项式拟合方程对全部样品的每一种元素进行漂移校正。
困难：1、每得到一批数据，都得手动对QC的每一种元素进行多元回归（像下图一样），如何有快捷的方法，自动生成QC每一种元素的回归方程；2、生成回归方程后，得手动对所有样品的每种元素进行漂移校正，需要一种自动调取回归方程、对每一种元素进行漂移校正的方法。

## 工作表1
6 Li [ No Gas ] | 3
7 Li [ No Gas ] | 5
9 Be [ No Gas ] | 7
11 B [ No Gas ] | 9
45 Sc [ He ] | 11
47 Ti [ He ] | 13
51 V [ He ] | 15
52 Cr [ He ] | 17
53 Cr [ He ] | 19
55 Mn [ He ] | 21
59 Co [ He ] | 23
60 Ni [ He ] | 25
63 Cu [ He ] | 27
66 Zn [ He ] | 29
71 Ga [ He ] | 31
72 Ge [ He ] | 33
75 As [ He ] | 35
78 Se [ He ] | 37
85 Rb [ He ] | 39
86 Sr [ He ] | 41
88 Sr [ He ] | 43
89 Y [ He ] | 45
90 Zr [ He ] | 47
93 Nb [ He ] | 49
95 Mo [ He ] | 51
101 Ru [ He ] | 53
103 Rh [ He ] | 55
105 Pd [ He ] | 57
107 Ag [ He ] | 59
111 Cd [ He ] | 61
115 In [ He ] | 63
118 Sn [ He ] | 65
121 Sb [ He ] | 67
125 Te [ He ] | 69
133 Cs [ He ] | 71
135 Ba [ He ] | 73
137 Ba [ He ] | 75
139 La [ He ] | 77
140 Ce [ He ] | 79
141 Pr [ He ] | 81
146 Nd [ He ] | 83
147 Sm [ He ] | 85
151 Eu [ He ] | 87
153 Eu [ He ] | 89
157 Gd [ He ] | 91
159 Tb [ He ] | 93
163 Dy [ He ] | 95
165 Ho [ He ] | 97
166 Er [ He ] | 99
169 Tm [ He ] | 101
172 Yb [ He ] | 103
175 Lu [ He ] | 105
178 Hf [ He ] | 107
181 Ta [ He ] | 109
182 W [ He ] | 111
185 Re [ He ] | 113
189 Os [ He ] | 115
193 Ir [ He ] | 117
195 Pt [ He ] | 119
197 Au [ He ] | 121
201 Hg [ He ] | 123
205 Tl [ He ] | 125
206 Pb [ He ] | 127
207 Pb [ He ] | 129
208 Pb [ He ] | 131
209 Bi [ He ] | 133
232 Th [ He ] | 135
238 U [ He ] | 137